List of purchasing fields for possible sourcing

- Phenolic Insulation for air conditioning pipelines. The relevant technical details are attached.

- Bare Round Copper Wires. OD (3/8" - 7/8")

- Pre installed copper tubes for air conditioning (Isolation thickness 9") OD (1/4" - 3/4")

- Hard drawn straight-length tubes - nominal dimension (7/8" - 1 5/8") American standards - ASTM-B88 - Type L.

- Black Steel Pipes sch-40 (seamless for air conditioning) Per the Standard ASTM 106-99 - (Required Diameters - 1/2" – 24")

- Galvanized Steel Pipes sch-40 (seam, for Installation) Per the Standard ASTM 106-99 (Required Diameters - 1/2" – 24")

- Standard Galvanized Seamless & Welded Pipes sch -10 Per the Standard ASTM 106-99. (Required Diameters -  1 1/2" - 6") (optional - Groove connection on each side) (optional - painted epoxy red - 60 microns Thickness)

- Electric Power Cables.

N2XY, NA2XY, NHXH FE180 E90, single core NYA (for all types of power cables, all diameters)

- Electric Valves and Actuators for air conditioning systems (supplier Belimo from Switzerland is the leader in this field)

- Power Generators Sets between 150 KVA - 2500 KVA (the relevant specifications can be provided)

- Galvanized Metal Sheet for Ductworks.

Thickness: 0.7, 0.8, 0.9, 1.0 and 1.2 millimeter

Galvanizing Thickness: Minimum Z180

The price must be per tone

- Glass wool Rolls - Facing BGT for Galvanized Steel Ductworks (not Fiberglass) for Acoustic isolation - Thickness: 1" & 2". (Similar to IZOCAM)

- Glass wool Rolls - Facing FSK for Galvanized Steel Ductworks (not Fiberglass) for Thermal isolation - Thickness: 1" & 2". (Similar to IZOCAM)

- Glass wool pipe section for steel Pipes isolation Aluminum Coated - Thickness: 40 mm & 50 mm. (Similar to IZOCAM)The relevant details are attached. Please provide us your quote for all measurements.

- Electric Motorized Valves, 2 and 3 ways, Diameter Range 1/2", 5/8", 3/4" and 1".